## Summary
DIVISIONAL SUMMARY
Project Name | SAMPLE OF ELECTRICAL WORKS ESTIMATION
Project Address | Hewlett, NY 11557
Date: | 2025-02-19
DIVISION NO. | DESCRIPTION | TOTAL DIV. COST
1000 | General Requirements | 0
26000 | Electrical | 0
TOTAL TRADE COST |  | 0
CONTINGENCY | 5% | 0
TAX | 8.5% | 0
PERFROMANCE & PAYMENT BOND | 2.5% | 0
OVERHEAD & PROFIT | 15% | 0
TOTAL TRADE COST |  | 0

## Takeoff
Project Name: |  | SAMPLE OF ELECTRICAL WORKS ESTIMATION
Address: |  | Hewlett, NY 11557
Date: |  | 2025-02-19
SR. NO. | DWG # | DETAIL # | DESCRIPTION | QTY. | WASTAGE | QTY W/ WASTAGE | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | TOTAL LABOR COST | TOTAL MATERIAL COST | UNIT MATERIAL COST | UNIT LABOR COST | UNIT PRICE | TOTAL COST | TRADE TOTAL
DIVISION 01- GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
3 |  |  | Office overheads | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
5 |  |  | Project Closeouts | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
6 |  |  | Submittal and approval | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
7 |  |  | Mobile Scaffolding | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
|  |  | Subtotal | [13 empty] | 0
DIVISION 26- ELECTRICAL
LIGHT FIXTURE
8 | E101-E102 |  | A : 4" LED DOWNLIGHT MANUFACTURER : LUXRITE MODEL : LR23265 | 19 | 0% | 19 | EA | 1.01 | 19.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | A-EM : 4" LED DOWNLIGHT W/ EMERGENCY BATTERY BACKUP MANUFACTURER : LUXRITE MODEL : EM: LR23947 + LR35126 (EM LED DRIVER) | 14 | 0% | 14 | EA | 1.1 | 15.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | B : 2" LED RECESSED SPOT LIGHT MANUFACTURER : JESCO LIGHTING GROUP MODEL : RLF-2708 | 4 | 0% | 4 | EA | 0.98 | 3.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | C : MODERN PENDANT LIGHT MANUFACTURER : BY GC / CLIENT MODEL : BY GC / CLIENT | 5 | 0% | 5 | EA | 2.2 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | D : 2x2 LED RECESSED LIGHT MANUFACTURER : MERCURY LIGHTING MODEL : LR4-22G-3000-5000K-UNI | 10 | 0% | 10 | EA | 2.25 | 22.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | D-EM : 2x2 LED RECESSED LIGHT W/ EMERGENCY BATTERY BACKUP MANUFACTURER : MERCURY LIGHTING MODEL : LR4-22G-3000-5000K-UNI | 1 | 0% | 1 | EA | 2.4 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | E : 1x4 LED RECESSED LIGHT MANUFACTURER : BY GC / CLIENT MODEL : BY GC / CLIENT | 12 | 0% | 12 | EA | 1.32 | 15.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | F : LED WALL SCONCE MANUFACTURER : BY GC / CLIENT MODEL : BY GC / CLIENT | 6 | 0% | 6 | EA | 2.1 | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  | CEILING MOUNTED ILLUMINATED DUAL DIRECTIONAL EXIT LIGHT | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  | WALL MOUNTED DUAL HEAD ILLUMINATED EXIT LIGHT | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | WALL MOUNTED ILLUMINATED EXIT LIGHT | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 |  | 0 | 0
|  |  | LIGHTING CONTROL | [6 empty] | 0 |  | 0 | 0
19 |  |  | TP-LINK REGULAR (HS200) SINGLE POLE SWITCHE | 14 | 0% | 14 | EA | 0.3 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | EXTERIOR DUAL HEAD EMERGENCY LIGHT | 2 | 0% | 2 | EA | 3.2 | 6.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  | TP-LINK DIMMER (KS230) 3-WAY SWITCHES | 16 | 0% | 16 | EA | 0.4 | 6.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  | TP-LINK DIMMER (KS230) OCCUPANCY SENSOR SWITCHES | 5 | 0% | 5 | EA | 0.85 | 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 |  | 0 | 0
|  |  | RECEPTACLE & SWITCHES | [6 empty] | 0 |  | 0 | 0
23 |  |  | DUPLEX ELECTRIC RECEPTACLE | 110 | 0% | 110 | EA | 0.2 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | FLOOR MOUNTED DUPLEX ELECTRICAL RECEPTACLE | 6 | 0% | 6 | EA | 0.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | VOICE / DATA OUTLET | 34 | 0% | 34 | EA | 0.18 | 6.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  | DISCONNET SWITCH | 3 | 0% | 3 | EA | 1.5 | 4.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | TV OUTLET | 6 | 0% | 6 | EA | 0.32 | 1.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 |  | 0 | 0
|  |  | POWER DISTRIBUTION | [6 empty] | 0 |  | 0 | 0
28 |  |  | EXISTING PANELBOARD TO BE REMOVED & RELOCATED | 1 | 0% | 1 | EA | 3.2 | 3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 |  | 0 | 0
|  |  | CONDUCTOR & CONDUITS | [6 empty] | 0 |  | 0 | 0
29 |  |  | (3#6 AWG + 1#10G AWG 600V TYPE THHN COPPER WIRE | 27.2 | 10% | 29.92 | LF | 0.067 | 2.0046 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  | (2#10 AWG + 1#10G AWG 600V TYPE THHN COPPER WIRE | 2653.76 | 10% | 2919.136 | LF | 0.062 | 180.9864 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  | (2#8 AWG + 1#10G AWG 600V TYPE THHN COPPER WIRE | 150.63 | 10% | 165.693 | LF | 0.065 | 10.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  | 3/4" CONDUIT WITH PULLSTRING | 2805 | 10% | 3085.5 | LF | 0.065 | 200.5575 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | 1" CONDUIT WITH PULLSTRING | 28 | 10% | 30.8 | LF | 0.067 | 2.0636 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 |  | 0
|  |  | Subtotal | [6 empty] | 0 | [6 empty] | 0
0
|  |  | TOTAL AMOUNT | [13 empty] | 0
|  |  | TAX (8.5%) | [7 empty] | 8.5% | [5 empty] | 0
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 2.5% | [5 empty] | 0
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% | [5 empty] | 0
|  |  | OVERHEAD AND PROFIT (15%) | [7 empty] | 15% | [5 empty] | 0
|  |  | TOTAL BASEBID | [13 empty] | 0
Note: